Post Analyzer Data

Importing Data

Data is imported into Post Analyzer at the start of a new project by either selecting data from the Add single source file

Or from the option Data File Browser which connects you to all EDM files within your PC

Files loaded into project will appear in the Source files tab while all data processed within project will appear in the live signals tab and saved data will appear in the run folders tab

Data Source files can also be found through the Setup → Data Sources which will open a Data Source window in the main display

Exporting Data

Data can be exported in number of ways. The simplest of ways is to right click on the desired plot in the window and select Report/Export Window → Export Dispayed Portion of Signals → Export